## Sheet1
Competent cell preparation using Rubidium Chloride
This procedure is from the Promega Protocols and Applications Guide (3rd edition), p. 45-46.
1. Inoculate a single colony from an LB plate in 2.5 mL of LB medium. Incubate overnight at 37°C with shaking (approximately 225 rpm).
2. On the following day, use 1 mL of overnight culture to inoculate 100 mL of LB medium containing 20 mM MgSO4 (this results in a 1:100 dilution). Grow the cells in a 500mL baffled flask until the A600 reaches 0.4–0.6 (typically 2–3 hours).
3. Pellet the cells by centrifugation at 4,500 x g for 5 minutes at 4°C. For a 100 mL culture, use two 50 mL falcon tubes.
4. Gently resuspend the cell pellets in 0.4 volume (based on the original culture volume) of ice-cold TFB1. For a 50 mL subculture, use 20 mL TFB1. Combine the resuspended cells in one 50mL falcon. For the remaining steps, keep the cells on ice and chill all pipets, tubes and flasks at freezer -20°C.
5. Incubate the resuspended cells on ice for 5 minutes.
6. Pellet the cells by centrifugation at 4,500 x g for 5 minutes at 4°C.
7. Gently resuspend the cells in 1/25 of the original culture volume of ice-cold TFB2. For a 100 mL subculture, use 4 mL of TFB2.
Note: Treat the competent cells gently as they are highly sensitive to handling and elevated temperature.
8. Incubate the cells on ice for 15–60 minutes and then aliquot into prechilled tubes. Quick-freeze the tubes in liquid N2 and store at -80°C.
TFB1
| 250mL |  |  | 100mL
30 mM potassium acetate | 0.74 | g |  | 0.296 | g
10 mM CaCl2 | 1.25 | mL of 2M |  | 0.5 | mL of 2M
50 mM MnCl2 | 2.47 | g |  | 0.988 | g
100 mM RbCl | 3.023 | g |  | 10 | mL 1M RbCl
15% glycerol | 37.5 | mL of 99% |  | 15 | mL of 99% glycerol
Adjust pH to 5.8 with 1M acetic acid (glacial acetic acid ~17.4N). Filter-sterilize (0.2 um).
Note: take care when titrating this solution; if you overshoot and try to bring the pH back up with hydroxide, the manganese will fall out of solution.
TFB2
| 100mL |  |  | 10mL
10 mM MOPS or PIPES | 0.335 | g |  | 0.0335 | g
75 mM CaCl2 | 3.75 | mL of 2M |  | 0.375 | mL of 2M
10 mM RbCl | 0.12 | g |  | 0.1 | mL 1M RbCl
15% glycerol | 15 | mL of 99% |  | 1.5 | mL of 99%
Adjust pH to 6.5 with 1M KOH. Filter-sterilize (0.2 um).
TFB1 and TFB2 can be stored at room temp or 4°C. They should be ice-cold for the procedure.
Stock solutions for TFB1 & TFB2
| M.Wt. | 50mL
KOH (1M) | 56.1056 | 2.8053 | g
CaCl2.2H2O (2M) | 147.008 | 14.7008 | g
Glacial acetic acid (1M) | 17.4 | 2.8736 | mL
| M.Wt. | 12mL
RbCl (1M) | 120.921 | 1.4511 | g
Additional notes
1. The cells do not resuspend very easily in TFB1. Be patient and be gentle (pipet up and down, and swirl the bottle–do not vortex). It is very difficult to achieve a uniform suspension; there are always some small clumps of cells present. Though the procedure does not specifically say so, keep the bottles on ice while I am resuspending in TFB1.
2. The cells resuspend much more easily in TFB2. Let them sit for 45 min to 1 hour before aliquoting.
3. Excellent competency is achieved using this procedure (1.5x107), and the cells can be used for up to a year afterwards.
4. Heat shock for 45 sec at 42°C.